## MAIN Sheet
1 | Equipment reg. or tag no. | 18421LP0004 | SPARE PARTS LIST AND INTERCHANGEABILITY RECORD (SPIR) | [6 empty] | QatarEnergy |  |  |  |  | SPIR No. :VEN-4142-RLCSF3-4-43-0500
|  |  | Notes : 1) If an item is interchangeable between two or more units, it should be listed once, incl. its characteristics such as dimensions, design specifications etc. | [6 empty] | 23 - Authority block |  |  |  |  | EQUIPMENT : 18421LP0004
2) Quote part numbers showing interchageability within equipment manufacturer's organisation.
|  |  | 3) Quote original identification numbers of suppliers for all bought-out items such as ball bearings, V-belts, mechanical seals, couplings, instruments, | [6 empty] | Quantities in column……..…… are authorised for |  |  |  |  | MANUFACTURER : ALLEN BRADLY
2 | Manufacture's model or type | PCS | fuses, relays, etc. | [6 empty] | purchase by :
|  |  | 4) Quote suppliers name for items shown in column 10B | [11 empty] | SUPPLIER : ESS QATAR
|  |  | 5) Columns 1 through 13, 15,18,20 and 22 to be completed by manufacturer/supplier, in accordance with sheet 3; remaining columns to be completed by purchaser | [6 empty] | Date :
|  |  | in accordance with Department 70.10.90.11-Gen. | [11 empty] | MESC No. (Proposal) :
24 - Required on site date :
3 | Manufacture's serial number | NA | ITEM NUMBER | Total Number of identical parts installed | [6 empty] | Initial Spare Parts |  | Spare parts for normal operation |  | UNIT PRICE : US $ | DELIVERY TIME IN WEEKS | MIN / MAX QUANTITY | UNIT OF MEASURE | M. E. S. C. Number | Classification of Parts
MANUFACTURER'S/SUPPLIERS DATA (see note 5)
[5 empty] | DESCRIPTION OF PARTS | DRAWING Number | PART NUMBER |  | MATERIAL Specification & Certification (see note below) | REMARK (see note 4) | Recommended by manufacturer | Recommended by OI Team | Recommended by manufacturer | Recommended by OI Team
[5 empty] | Slow- wearing parts and also all parts recommended to be kept in stock for normal Operation (see note 1) |  | Manufacturer's (see note 2) | Supplier's (see note 3)
4 | No. of units | 1 |  | 7 | 8 | 9 | 10A | 10B | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
5 | No of parts per unit | 2 | 1 | 2 | ControlLogix Chassis 4 slots | VEN-4142-RLCSF3-4-64-0500 | 1756-A4 | 1756-A4 | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 321 | 26 weeks |  | PCS | 10228666 | Y
|  | 8 | 2 | 8 | ControlLogix 2 MB Controller | VEN-4142-RLCSF3-4-64-0500 | 1756-L71 | 1756-L71 | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 5415 | 26 weeks |  | PCS | 10311113 | Y
|  | 5 | 3 | 5 | ControlLogix Redundancy Module | VEN-4142-RLCSF3-4-64-0500 | 1756-RM2 | 1756-RM2 | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 4683 | 26 weeks |  | PCS | 10334900 | Y
|  | 17 | 4 | 17 | Ethernet/IP Communication Module | VEN-4142-RLCSF3-4-64-0500 | 1756-EN2TR | 1756-EN2TR | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 2760 | 26 weeks |  | PCS | 10437054 | Y
|  | 15 | 5 | 15 | 3 Port Ethernet/IP Tap | VEN-4142-RLCSF3-4-64-0500 | 1783-ETAP | 1783-ETAP | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 337 | 26 weeks |  | PCS | 10477668 | Y
|  | 15 | 6 | 15 | 5 Port Managed Ethernet Switch | VEN-4142-RLCSF3-4-64-0500 | 1783-LMS5 | 1783-LMS5 | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 386 | 26 weeks |  | PCS | 10601806 | Y
|  | 7 | 7 | 7 | ControlLogix CPU AC Power Supply | VEN-4142-RLCSF3-4-64-0500 | 1756-PA75 | 1756-PA75 | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 1075 | 26 weeks |  | PCS | 10387095 | Y
|  | 25 | 8 | 25 | ControlLogix I/O Rack AC Power Supply | VEN-4142-RLCSF3-4-64-0500 | 1756-PA50 | 1756-PA50 | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 874 | 26 weeks |  | PCS | 10601807 | Y
|  | 4 | 9 | 4 | ControlLogix Chassis 10 slots | VEN-4142-RLCSF3-4-64-0500 | 1756-A10 | 1756-A10 | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 597 | 26 weeks |  | PCS | 10335294 | Y
|  | 2 | 10 | 2 | ControlLogix 16 Point D/I Module | VEN-4142-RLCSF3-4-64-0500 | 1756-IB16 | 1756-IB16 | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 348 | 26 weeks |  | PCS | 10318516 | Y
|  | 4 | 11 | 4 | ControlLogix 32 Point D/I Module | VEN-4142-RLCSF3-4-64-0500 | 1756-IB32 | 1756-IB32 | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 458 | 26 weeks |  | PCS | 10179110 | Y
|  | 2 | 12 | 2 | ControlLogix 16 Point D/O Module | VEN-4142-RLCSF3-4-64-0500 | 1756-OB16E | 1756-OB16E | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 535 | 26 weeks |  | PCS | 10318517 | Y
|  | 2 | 13 | 2 | ControlLogix 8 Point A/I Module | VEN-4142-RLCSF3-4-64-0500 | 1756-IF8 | 1756-IF8 | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 1043 | 26 weeks |  | PCS | 10318518 | Y
|  | 2 | 14 | 2 | ControlLogix 4 Point A/O Module | VEN-4142-RLCSF3-4-64-0500 | 1756-OF4 | 1756-OF4 | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 1184 | 26 weeks |  | PCS | 10318519 | Y
|  | 8 | 15 | 8 | PanelView Plus Terminal-12.1" | VEN-4142-RLCSF3-4-64-0500 | 2711P-T12W22D9P | 2711P-T12W22A9P | N- NONE REQUIRED (B) | Rockwell Automation | 0 |  | 1 |  | 5187 | 26 weeks |  | PCS | 10504106 | Y
|  | 2 | 16 | 2 | EtherNet/IP to Modbus Serial Gateway | VEN-4142-RLCSF3-4-64-0500 | PLX31-EIP-MBS | PLX31-EIP-MBS | N- NONE REQUIRED (B) | PROSOFT | 0 |  | 1 |  | 1350 | 26 weeks |  | PCS | 10601028 | Y
|  | 8 | 17 | 8 | SITOP PSU100S (INPUT: 120/230 V AC OUTPUT: 24 V/10 A DC) | VEN-4142-RLCSF3-4-64-0500 | 6EP1334-2BA20 | 6EP1334-2BA20 | N- NONE REQUIRED (B) | SIEMENS | 0 |  | 1 |  | 204 | 10 weeks |  | PCS | 10372042 | Y
|  | 8 | 18 | 8 | 10A Redundant Module (Diode Oring) | VEN-4142-RLCSF3-4-64-0500 | 8710620000 | 8710620000 | N- NONE REQUIRED (B) | Weidmuller | 0 |  | 1 |  | 120 | 10 weeks |  | PCS | 10601808 | Y
6 | Requisition / order ref. no. |  |  | 7: PROJECT/ PLANT : COMMON COOLING SEAWATER SYSTEM PHASE-3 PROJECT (RLIC); Supplier's (see note 3) 10B: GENERAL INFORMATION:; Supplier's (see note 3) 13: NOTE:; Supplier's (see note 3) 14: X - THIRD PART INSPECTION; Supplier's (see note 3) 17: Issue letter; Supplier's (see note 3) 21: 1
|  |  |  | COMPANY : QATAR PETROLEUM (QATAR ENERGY) |  |  |  |  | ESSENTIAL SYSTEMS & SERVICES (ESS-MIDDLE EAST) Buzwair Commercial Building, Al Mansoura Zone: 25, Street: 330, Building: 57, Floor: 7, Office: 5, Doha, Qatar. P.O.Box: 319 Tel. no.: (+974) 4462-1513, Fax: (+974) 4462-1306 Email : ravichandran@essme.com; Mobile no.: 5535-8330 / Land: 4462-1513 |  |  | M-MATERIAL CERTIFICATION |  |  | Date |  |  |  | 2023-01-06
|  |  |  | ENGINEERING BY : ESS | [7 empty] | T- TEST CERTIFICATION |  |  | Sign. |  |  |  | Ravi S
|  |  |  | CONTRACT : GT19103600 | [7 empty] | 0- OTHER |  |  | Sheet No.: |  | 1 of 1
[12 empty] | N- NONE REQUIRED |  |  | Requisition No.:

## Sheet1 (2) (hidden)
1 | Equipment ref. or tag no. |  | SPIR No. :
Equipment. :
Manufacturer :
Supplier :
2 | Manufacturer's model or type |  | MESC No. :
SPARE PARTS LIST AND INTERCHANGEABILITY RECORD
3 | Manufacturer's serial no.
4 | No. of units |  | Remarks
5 | Number of parts per unit | 1 | 1
|  | 2 | 2
|  | 3 | 3
|  | 4 | 4
|  | 5 | 5
|  | 6 | 6
|  | 7 | 7
|  | 8 | 8
|  | 9 | 9
|  | 10 | 10
|  | 11 | 11
|  | 12 | 12
|  | 13 | 13
|  | 14 | 14
|  | 15 | 15
|  | 16 | 16
|  | 17 | 17
|  | 18 | 18
|  | 19 | 19
|  | 20 | 20
|  | 21 | 21
|  | 22 | 22
|  | 23 | 23
|  | 24 | 24
|  | 25 | 25
6 | Requisition / order ref. No. |  | Issue letter
Date
Sign.
|  |  | Sheet No.: of | of
Requisition No.: