## Sheet 1
SPIR_NO | TAG NO | EQPT_MAKE | EQPT_MODEL | EQPT_SR NO | EQPT_QTY | QUANTITY_ IDENTICAL PARTS FITTED | ITEM NUMBER | DESCRIPTION OF PARTS | NEW DESCRIPTION OF PARTS | DWG No. INCL POS N No. | MANUFACTURER PART NUMBER | SUPPLIER/OCM NAME | CURRENCY | UNIT PRICE | DELIVERY TIME IN WEEKS | MIN/MAX STOCK LVLS QTY | UNIT OF MEASURE | SAP NUMBER | CLASSIFICATION OF PARTS | duplicate_id | sheet
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  |  |  | ABB DCS | [11 empty] | 1 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 2 | 23 | PM 902F CPU Module | PM 902F CPU Module,3BDH001000R0001,ABB | VEN-4391-M1UT-4-59-0007 | 3BDH001000R0001 | ABB | USD - United States Dollar | 17233 | 10 |  | EA - EACH |  | C - Stock | 1 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 2 | 24 | 951F Battery for RAM buffering | 951F Battery for RAM buffering,3BDH001030R0001,ABB | VEN-4391-M1UT-4-59-0007 | 3BDH001030R0001 | ABB | USD - United States Dollar | 146 | 10 |  | EA - EACH |  | C - Stock | 1 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | MSC-15 & IMB-11 | ABB | DCS SYSTEM PANEL NGL-1/2 LER-41 (INFI90) |  |  |  |  | ABB DCS | [11 empty] | 2 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | MSC-15 & IMB-11 | ABB | DCS SYSTEM PANEL NGL-1/2 LER-41 (INFI90) |  |  | 1 | 7 | AI Module, 15 CH | AI Module, 15 CH,SPFEC12,ABB | VEN-4391-M1UT-4-59-0010 / VEN-4391-M489-4-59-0002 | SPFEC12 | ABB | USD - United States Dollar | 4533 | 10 |  | EA - EACH |  | C - Stock | 2 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | MSC-15 & IMB-11 | ABB | DCS SYSTEM PANEL NGL-1/2 LER-41 (INFI90) |  |  | 1 | 8 | DI Module. 16 CH | DI Module. 16 CH,SPDSI22,ABB | VEN-4391-M1UT-4-59-0010 / VEN-4391-M489-4-59-0002 | SPDSI22 | ABB | USD - United States Dollar | 3582 | 10 |  | EA - EACH |  | C - Stock | 2 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | MSC-15 & IMB-11 | ABB | DCS SYSTEM PANEL NGL-1/2 LER-41 (INFI90) |  |  | 1 | 9 | DO Module | DO Module,SPDSO14,ABB | VEN-4391-M1UT-4-59-0010 / VEN-4391-M489-4-59-0002 | SPDSO14 | ABB | USD - United States Dollar | 3582 | 10 |  | EA - EACH |  | C - Stock | 2 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | MSC-06 & IMB-09 | ABB | DCS SYSTEM PANEL NGL-4 LER-5 (INFI90) |  |  |  |  | ABB DCS | [11 empty] | 3 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | MSC-06 & IMB-09 | ABB | DCS SYSTEM PANEL NGL-4 LER-5 (INFI90) |  |  | 1 | 7 | AI Module, 15 CH | AI Module, 15 CH,SPFEC12,ABB | VEN-4391-M1UT-4-59-0010 / VEN-4391-M489-4-59-0002 | SPFEC12 | ABB | USD - United States Dollar | 4533 | 10 |  | EA - EACH |  | C - Stock | 3 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | MSC-06 & IMB-09 | ABB | DCS SYSTEM PANEL NGL-4 LER-5 (INFI90) |  |  | 1 | 8 | DI Module. 16 CH | DI Module. 16 CH,SPDSI22,ABB | VEN-4391-M1UT-4-59-0010 / VEN-4391-M489-4-59-0002 | SPDSI22 | ABB | USD - United States Dollar | 3582 | 10 |  | EA - EACH |  | C - Stock | 3 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | MSC-06 & IMB-09 | ABB | DCS SYSTEM PANEL NGL-4 LER-5 (INFI90) |  |  | 1 | 9 | DO Module | DO Module,SPDSO14,ABB | VEN-4391-M1UT-4-59-0010 / VEN-4391-M489-4-59-0002 | SPDSO14 | ABB | USD - United States Dollar | 3582 | 10 |  | EA - EACH |  | C - Stock | 3 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  |  |  | ABB DCS | [11 empty] | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 2 | 1 | INFI-Net Communication Link TU | INFI-Net Communication Link TU,NTCL01,ABB | VEN-4391-M3UT-4-59-0002 | NTCL01 | ABB | USD - United States Dollar | 3090 | 18 |  | KIT - KIT |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 2 | 2 | Network Interface Module | Network Interface Module,SPNIS21,ABB | VEN-4391-M3UT-4-59-0002 | SPNIS21 | ABB | USD - United States Dollar | 16298 | 10 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 2 | 3 | Network Processing module | Network Processing module,SPNPM22,ABB | VEN-4391-M3UT-4-59-0002 | SPNPM22 | ABB | USD - United States Dollar | 16764 | 10 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 2 | 4 | Controller with Modbus TCP Interface | Controller with Modbus TCP Interface,SPBRC410,ABB | VEN-4391-M3UT-4-59-0002 | SPBRC410 | ABB | USD - United States Dollar | 43149 | 22 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 1 | 5 | Redundancy Cable for Ctrl/Comm | Redundancy Cable for Ctrl/Comm,PMKHRMBRC3000A,ABB | VEN-4391-M3UT-4-59-0002 | PMKHRMBRC3000A | ABB | USD - United States Dollar | 445 | 10 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 1 | 6 | Redundancy Cable for NPM22 | Redundancy Cable for NPM22,PMKHRMBRC3000B,ABB | VEN-4391-M3UT-4-59-0002 | PMKHRMBRC3000B | ABB | USD - United States Dollar | 681 | 10 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 1 | 10 | Module Mounting Unit , Front Mount | Module Mounting Unit , Front Mount,IEMMU22,ABB | VEN-4391-M3UT-4-59-0002 | IEMMU22 | ABB | USD - United States Dollar | 1864 | 18 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 1 | 11 | Fan, System Monitoring and Cooling | Fan, System Monitoring and Cooling,PHARPSFAN03000,ABB | VEN-4391-M3UT-4-59-0002 | PHARPSFAN03000 | ABB | USD - United States Dollar | 5352 | 18 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 1 | 12 | DC Bus Bar used in MPS III and MPS IV systems | DC Bus Bar used in MPS III and MPS IV systems,1948506C8,ABB | VEN-4391-M3UT-4-59-0002 | 1948506C8 | ABB | USD - United States Dollar | 2700 | 18 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 8 | 13 | Coax Termination Cable | Coax Termination Cable,NKTL01-3,ABB | VEN-4391-M3UT-4-59-0002 | NKTL01-3 | ABB | USD - United States Dollar | 521 | 15 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 4 | 14 | NTCL to NTCL Cable | NTCL to NTCL Cable,NKCL11-100,ABB | VEN-4391-M3UT-4-59-0002 | NKCL11-100 | ABB | USD - United States Dollar | 11293 | 15 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 2 | 15 | Infi-Net Termination Cable | Infi-Net Termination Cable,NKTT01-3,ABB | VEN-4391-M3UT-4-59-0002 | NKTT01-3 | ABB | USD - United States Dollar | 190 | 10 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 3 | 16 | AI02 16-CH with HART | AI02 16-CH with HART,AI02,ABB | VEN-4391-M3UT-4-59-0002 | AI02 | ABB | USD - United States Dollar | 3266 | 15 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 5 | 17 | DI03 16-CH, 24 VDC | DI03 16-CH, 24 VDC,DI03,ABB | VEN-4391-M3UT-4-59-0002 | DI03 | ABB | USD - United States Dollar | 1270 | 15 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 3 | 18 | DO01 16-CH, 24 / 48 VDC max 250mA | DO01 16-CH, 24 / 48 VDC max 250mA,DO01,ABB | VEN-4391-M3UT-4-59-0002 | DO01 | ABB | USD - United States Dollar | 1519 | 15 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 1 | 19 | Field Termination Panel | Field Termination Panel,NFTP01,ABB | VEN-4391-M3UT-4-59-0002 | NFTP01 | ABB | USD - United States Dollar | 113 | 15 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 2 | 20 | HN800 Bus Extender Kit, Horizontal | HN800 Bus Extender Kit, Horizontal,HBX01K02,ABB | VEN-4391-M3UT-4-59-0002 | HBX01K02 | ABB | USD - United States Dollar | 862 | 10 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 2 | 21 | HN800 or CW800 Bus Terminator with cover | HN800 or CW800 Bus Terminator with cover,TER810,ABB | VEN-4391-M3UT-4-59-0002 | TER810 | ABB | USD - United States Dollar | 105 | 10 |  | EA - EACH |  | C - Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 2 | 22 | DIN-Rail Mtg Panel | DIN-Rail Mtg Panel,DRMP-19SD,ABB | VEN-4391-M3UT-4-59-0002 | DRMP-19SD | ABB | USD - United States Dollar | 129 | 15 |  | EA - EACH |  | I - Non-Stock | 4 | MAIN SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  |  |  | ABB DCS | [11 empty] | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 2 | 1 | INFI-Net Communication Link TU | INFI-Net Communication Link TU,NTCL01,ABB | VEN-4391-M3UT-4-59-0002 | NTCL01 | ABB | USD - United States Dollar | 3090 | 18 |  | KIT - KIT |  | C - Stock | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 2 | 2 | Network Interface Module | Network Interface Module,SPNIS21,ABB | VEN-4391-M3UT-4-59-0002 | SPNIS21 | ABB | USD - United States Dollar | 16298 | 10 |  | EA - EACH |  | C - Stock | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 4 | 3 | Network Processing module | Network Processing module,SPNPM22,ABB | VEN-4391-M3UT-4-59-0002 | SPNPM22 | ABB | USD - United States Dollar | 16764 | 10 |  | EA - EACH |  | C - Stock | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 5 | 4 | Controller with Modbus TCP Interface | Controller with Modbus TCP Interface,SPBRC410,ABB | VEN-4391-M3UT-4-59-0002 | SPBRC410 | ABB | USD - United States Dollar | 43149 | 22 |  | EA - EACH |  | C - Stock | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 5 | 5 | Redundancy Cable for Ctrl/Comm | Redundancy Cable for Ctrl/Comm,PMKHRMBRC3000A,ABB | VEN-4391-M3UT-4-59-0002 | PMKHRMBRC3000A | ABB | USD - United States Dollar | 445 | 10 |  | EA - EACH |  | C - Stock | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 3 | 6 | Redundancy Cable for NPM22 | Redundancy Cable for NPM22,PMKHRMBRC3000B,ABB | VEN-4391-M3UT-4-59-0002 | PMKHRMBRC3000B | ABB | USD - United States Dollar | 681 | 10 |  | EA - EACH |  | C - Stock | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 1 | 7 | AI Module, 15 CH | AI Module, 15 CH,SPFEC12,ABB | VEN-4391-M1UT-4-59-0010 / VEN-4391-M489-4-59-0002 | SPFEC12 | ABB | USD - United States Dollar | 4533 | 10 |  | EA - EACH |  | C - Stock | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 1 | 8 | DI Module. 16 CH | DI Module. 16 CH,SPDSI22,ABB | VEN-4391-M1UT-4-59-0010 / VEN-4391-M489-4-59-0002 | SPDSI22 | ABB | USD - United States Dollar | 3582 | 10 |  | EA - EACH |  | C - Stock | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 1 | 9 | DO Module | DO Module,SPDSO14,ABB | VEN-4391-M1UT-4-59-0010 / VEN-4391-M489-4-59-0002 | SPDSO14 | ABB | USD - United States Dollar | 3582 | 10 |  | EA - EACH |  | C - Stock | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 1 | 10 | Module Mounting Unit , Front Mount | Module Mounting Unit , Front Mount,IEMMU22,ABB | VEN-4391-M3UT-4-59-0002 | IEMMU22 | ABB | USD - United States Dollar | 1864 | 18 |  | EA - EACH |  | C - Stock | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 2 | 11 | Fan, System Monitoring and Cooling | Fan, System Monitoring and Cooling,PHARPSFAN03000,ABB | VEN-4391-M3UT-4-59-0002 | PHARPSFAN03000 | ABB | USD - United States Dollar | 5352 | 18 |  | EA - EACH |  | C - Stock | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-006 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 2 | 12 | DC Bus Bar used in MPS III and MPS IV systems | DC Bus Bar used in MPS III and MPS IV systems,1948506C8,ABB | VEN-4391-M3UT-4-59-0002 | 1948506C8 | ABB | USD - United States Dollar | 2700 | 18 |  | EA - EACH |  | C - Stock | 1 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | MSC-15 & IMB-11 | ABB | DCS SYSTEM PANEL NGL-1/2 LER-41 (INFI90) |  |  |  |  | ABB DCS | [11 empty] | 2 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | MSC-06 & IMB-09 | ABB | DCS SYSTEM PANEL NGL-4 LER-5 (INFI90) |  |  |  |  | ABB DCS | [11 empty] | 3 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  |  |  | ABB DCS | [11 empty] | 4 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 2 | 13 | Coax Termination Cable | Coax Termination Cable,NKTL01-3,ABB | VEN-4391-M3UT-4-59-0002 | NKTL01-3 | ABB | USD - United States Dollar | 521 | 15 |  | EA - EACH |  | C - Stock | 4 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 1 | 14 | NTCL to NTCL Cable | NTCL to NTCL Cable,NKCL11-100,ABB | VEN-4391-M3UT-4-59-0002 | NKCL11-100 | ABB | USD - United States Dollar | 11293 | 15 |  | EA - EACH |  | C - Stock | 4 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 2 | 15 | Infi-Net Termination Cable | Infi-Net Termination Cable,NKTT01-3,ABB | VEN-4391-M3UT-4-59-0002 | NKTT01-3 | ABB | USD - United States Dollar | 190 | 10 |  | EA - EACH |  | C - Stock | 4 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 2 | 16 | AI02 16-CH with HART | AI02 16-CH with HART,AI02,ABB | VEN-4391-M3UT-4-59-0002 | AI02 | ABB | USD - United States Dollar | 3266 | 15 |  | EA - EACH |  | C - Stock | 4 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 6 | 17 | DI03 16-CH, 24 VDC | DI03 16-CH, 24 VDC,DI03,ABB | VEN-4391-M3UT-4-59-0002 | DI03 | ABB | USD - United States Dollar | 1270 | 15 |  | EA - EACH |  | C - Stock | 4 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 1 | 18 | DO01 16-CH, 24 / 48 VDC max 250mA | DO01 16-CH, 24 / 48 VDC max 250mA,DO01,ABB | VEN-4391-M3UT-4-59-0002 | DO01 | ABB | USD - United States Dollar | 1519 | 15 |  | EA - EACH |  | C - Stock | 4 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 1 | 19 | Field Termination Panel | Field Termination Panel,NFTP01,ABB | VEN-4391-M3UT-4-59-0002 | NFTP01 | ABB | USD - United States Dollar | 113 | 15 |  | EA - EACH |  | C - Stock | 4 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 1 | 20 | HN800 Bus Extender Kit, Horizontal | HN800 Bus Extender Kit, Horizontal,HBX01K02,ABB | VEN-4391-M3UT-4-59-0002 | HBX01K02 | ABB | USD - United States Dollar | 862 | 10 |  | EA - EACH |  | C - Stock | 4 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 1 | 21 | HN800 or CW800 Bus Terminator with cover | HN800 or CW800 Bus Terminator with cover,TER810,ABB | VEN-4391-M3UT-4-59-0002 | TER810 | ABB | USD - United States Dollar | 105 | 10 |  | EA - EACH |  | C - Stock | 4 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 65-SC-085 | ABB | DCS SYSTEM PANEL NGL-3 LER-2 BATTERY ROOM (INFI90) |  |  | 1 | 22 | DIN-Rail Mtg Panel | DIN-Rail Mtg Panel,DRMP-19SD,ABB | VEN-4391-M3UT-4-59-0002 | DRMP-19SD | ABB | USD - United States Dollar | 129 | 15 |  | EA - EACH |  | I - Non-Stock | 4 | CONTINUATION SHEET-1
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-005 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  |  |  | ABB DCS | [11 empty] | 0 | MAIN SHEET-2
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-005 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 2 | 1 | Network Switch | Network Switch,BRS20-0600M2M2-STCZ99HHSESXX.X.XX,Hirschmann | VEN-4391-M1UT-4-59-0008 / VEN-4391-M1UT-4-59-0009 | BRS20-0600M2M2-STCZ99HHSESXX.X.XX | Hirschmann | USD - United States Dollar | 418 | 18 |  | EA - EACH |  | C - Stock | 0 | MAIN SHEET-2
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-005 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 2 | 2 | Firewall | Firewall,EAGLE40-033T1SCCZ9HSRAUNXX.X.XX,Hirschmann | VEN-4391-M1UT-4-59-0008 / VEN-4391-M1UT-4-59-0009 | EAGLE40-033T1SCCZ9HSRAUNXX.X.XX | Hirschmann | USD - United States Dollar | 1957 | 18 |  | EA - EACH |  | C - Stock | 0 | MAIN SHEET-2
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-005 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 2 | 3 | FO Patch Cord | FO Patch Cord,GP-12SDSD030MX,Belden | VEN-4391-M1UT-4-59-0008 / VEN-4391-M1UT-4-59-0009 | GP-12SDSD030MX | Belden | USD - United States Dollar | 70 | 18 |  | EA - EACH |  | C - Stock | 0 | MAIN SHEET-2
VEN-4391-MTY-4-43-0001 | 34-FCS-SC-005 | ABB | DCS SYSTEM PANEL (FREELANCE) |  |  | 2 | 4 | RJ45 Patch Cord | RJ45 Patch Cord,C6S4108020M,Belden | VEN-4391-M1UT-4-59-0008 | C6S4108020M | Belden | USD - United States Dollar | 32 | 18 |  | EA - EACH |  | C - Stock | 0 | MAIN SHEET-2
VEN-4391-MTY-4-43-0001 | 6347-J02A | ABB | DCS SYSTEM PANEL NGL-1/2 CCR BASEMENT (INFI90) |  |  |  |  | ABB DCS | [11 empty] | 0 | MAIN SHEET-2
VEN-4391-MTY-4-43-0001 | 6347-J02A | ABB | DCS SYSTEM PANEL NGL-1/2 CCR BASEMENT (INFI90) |  |  | 2 | 1 | Network Switch | Network Switch,BRS20-0600M2M2-STCZ99HHSESXX.X.XX,Hirschmann | VEN-4391-M1UT-4-59-0008 / VEN-4391-M1UT-4-59-0009 | BRS20-0600M2M2-STCZ99HHSESXX.X.XX | Hirschmann | USD - United States Dollar | 418 | 18 |  | EA - EACH |  | C - Stock | 0 | MAIN SHEET-2
VEN-4391-MTY-4-43-0001 | 6347-J02A | ABB | DCS SYSTEM PANEL NGL-1/2 CCR BASEMENT (INFI90) |  |  | 2 | 2 | Firewall | Firewall,EAGLE40-033T1SCCZ9HSRAUNXX.X.XX,Hirschmann | VEN-4391-M1UT-4-59-0008 / VEN-4391-M1UT-4-59-0009 | EAGLE40-033T1SCCZ9HSRAUNXX.X.XX | Hirschmann | USD - United States Dollar | 1957 | 18 |  | EA - EACH |  | C - Stock | 0 | MAIN SHEET-2
VEN-4391-MTY-4-43-0001 | 6347-J02A | ABB | DCS SYSTEM PANEL NGL-1/2 CCR BASEMENT (INFI90) |  |  | 2 | 3 | FO Patch Cord | FO Patch Cord,GP-12SDSD030MX,Belden | VEN-4391-M1UT-4-59-0008 / VEN-4391-M1UT-4-59-0009 | GP-12SDSD030MX | Belden | USD - United States Dollar | 70 | 18 |  | EA - EACH |  | C - Stock | 0 | MAIN SHEET-2
VEN-4391-MTY-4-43-0001 | 6347-J02A | ABB | DCS SYSTEM PANEL NGL-1/2 CCR BASEMENT (INFI90) |  |  | 2 | 5 | RJ45 Patch Cord | RJ45 Patch Cord,C6S4108005M,Belden | VEN-4391-M1UT-4-59-0009 | C6S4108005M | Belden | USD - United States Dollar | 13 | 18 |  | EA - EACH |  | C - Stock | 0 | MAIN SHEET-2